Engineering Project Preparation & Development Stages

A. REQUIREMENTS

B. SYSTEM ARCHITECTURE

1. SYSTEM FLOW

2. SUBSYSTEM EXTRCTION

Identify and separate:

- Electrical subsystems (Power)

- Electronics/control subsystems

- Software subsystems

- AI subsystems

3. PROJECT OBJECT IDENTIFICATION

Identify the physical objects/components required to realize each subsystem.

4. SYSTEM-LEVEL I/O DEFINITION

Define:

- Sensors/input

- Controllers

- Actuators/output

- User interface

- Communication

5. PRELIMINARY SYSTEM WIRING/BLOCK DIAGRAM

Output: System Architecture Document + System Block Diagram + System Flow Diagram

C. System Power Profiling

This deserves to be its own engineering stage because it influences almost every other subsystem.

1. Electrical load identification

- Identify every electrical load

- Voltage requirement

- Maximum/design current

- Nominal current

- Peak/stall current

2. Electrical load sizing

- Total load

- Maximum power

- Power per voltage rail

- Simultaneous-load analysis

3. Operating energy analysis

- Expected operating time

- Duty cycle

- Items/hour or cycles/hour

- Wh/hour

- Daily energy requirement where applicable

4. Battery sizing

- Required battery energy (Wh)

- Battery voltage

- Required Ah

- Maximum discharge current

- Depth of discharge

- Battery chemistry

- Battery configuration

5. Power-conditioning analysis

- BMS

- Buck converters

- Boost converters

- Motor controllers

- MOSFET losses

- Wiring losses

- Connector losses

- Conversion efficiencies

6. Solar sizing — where applicable

- Daily energy requirement

- Solar irradiation

- Peak sun hours

- Panel power

- Charge-controller requirement

- Solar-to-battery architecture

7. Power distribution architecture

- Battery/main supply

- Voltage rails

- Fuses

- Protection

- Distribution

- Grounding

8. Circuit design

- Power circuit

- Control circuit

- Protection circuit

- Motor-driver circuit

9. Power-component selection

Generate the final list of:

- Battery

- BMS

- Buck/boost converters

- Fuses

- Switches

- Connectors

- Wires

- Motor controllers

- MOSFETs

- Protection components

Output: Power Budget + Power Architecture + Circuit Diagram + Power Component BOM

D. Electrical Simulation

Simulate:

- Voltage

- Current

- Power

- Motor behaviour

- Control circuits

- Sensor circuits

- Power supply

- Battery behaviour

- Protection circuits

Possible tools:

- MATLAB/Simulink

- LTspice

- Proteus

- Multisim

- Other appropriate electrical simulation software

E. Hard cording

F. Ai Trainning

1. AI problem definition

2. Dataset collection

3. Data preprocessing

4. Labelling

5. Model selection

6. Model training

7. Model evaluation

8. Optimization

9. Deployment

10. Hardware/software integration

11. Real-world testing

Output: Trained model + deployed AI subsystem

G. Prototype Fabrication & Assembly

1. Component procurement

2. Mechanical fabrication

3. PCB/perfboard assembly

4. Wiring

5. Mechanical assembly

6. Electrical assembly

7. Software installation

8. Sensor installation

9. Actuator installation

10. Subsystem integration

11. Full system assembly

Output: Physical prototype

H. System Testing & Validation

This is the major stage missing from your original list.

1. Component-level testing

Test individual:

- Motors

- Sensors

- Controllers

- Power components

- Mechanical components

2. Subsystem testing

Test each subsystem independently.

3. Interface testing

Verify:

- Mechanical interfaces

- Electrical interfaces

- Software interfaces

- Communication interfaces

H. Documentation & Technical Handover (Cost: Free)

This is another stage I would add.

Documentation package

- Requirements document

- System architecture

- Electrical schematics

- Power calculations

- Mechanical calculations

- CAD files

- Component/BOM list

- Software

- AI model/documentation

- Assembly instructions

- Operating instructions

- Maintenance instructions

- Test results

- Final technical report